SE 403 FIRE ENGINEERING   I

MODULE I

Introduction -Chemistry of fire - Combustion - Composition of Combustion - Flame, heat, fire gases, smoke - Dimensions, Structure, Intensity and velocity of flames.  Heat transfer from flames-Ignition temperature-LFL-UFL-Flash point Fire point -spontaneous combustion-Flash over. Dust explosion-classification of fires.  Flammability principles.  Ignition. Rate of burning.

MODULE 2

Fire hazards-health-flammability –reactivity (stability) Air contaminants generally found in fires-toxic effects of fire gases.  Electrical fires,causes , protective system prevention of failure, fire prevention measures,

MODULE 3

Fire prevention- handling and storing flammable and combustible liquids.  Elimination of ignition sources.  Grounding and bonding. Fire protection in plants and factories.  Fire walls, fire doors, means of egress.

MODULE 4

Fire detection-smoke detection-types of ionisation-photo electric-light intensity-scattered light detectors.  Heat detectors-Fixed temperature detector-rate of rise detectors pneumatic detectors. Flame detectors -infra red detector - ultra violet flame detector.

MODULE 5

Fire suppression. Fixed automatic sprinklers.  Sprinkler system-sprinkler design -water supply.  Wet system-Dry system-Fixed manual application-sprinkler alarm stand pipes.  Portable fire extinguishers-Types-extinguisher location Inspection - testing.

REFERENCE

1.Industrial fire hazards hand book  				: N F P A

2.Introduction to Safety Engineering				: David S Gloss, Miriam,

Gaylle Wardle

3.Automatic sprinkler and stand pipe system			: Bryan J L

4.Accident Prevention Manual for Industrial operation	: L N S C, Chicago.

5 Electrical fires and failures 					: A A Hattangadi, TMH