SE 402 SAFETY IN ELECTRICAL SYSTEMS

MODULE I

Elementary ideas of electrical equipments : Transformer, DC Machines, Alternators, Induction machines- characteristics - construction - Applications.

Protective relays:  Requirements of relay- types of protection-classification - Distance relay, differential relay . state relays - Definition - types.

Circuit breakers:  Function of switch gear - Arc phenomenon - Initialisation of an arc - arc interruption - Recovery voltage and Restriking voltage - classification - working.

MCB and ELCB

Faults in power system - causes - types

MODULE 2

Fuses: Definition - types of fuses - selection of fuse - advantages and disadvantages.

Grounding - Neutral grounding - Solid grounding Resistance grounding - Arc suppression coil grounding   Equipment grounding for safety - Grounding sub station - Grounding of line structure - Earthing

MODULE 3

Effect of electric and magnetic fields:  Human Safety aspects - Effect of Current and voltage on human being - distance from the source - Typical V-I characteristics of skin - Nervous system. Electrical shocks and their prevention

Insulation - classes of insulation - FRLS insulation - Continuity  test.

MODULE 4

Safety during installation of plant and equipment. Safe sequences in installation – risk during installation. Safety during testing and commissioning- steps.  Test on relays- Protection and interlock system on safety

MODULE 5

Hazardous zones - classification of hazardous zones.  Intrinsically safe and explosion proof electrical apparatus. Selection of equipment’s in hazardous area.

Electrical fires - hazards of static electricity - Safety procedures in electrical maintenance.  Statutory requirements from Electrical Inspectorate.  Indian and International standards on Electrical Safety.

Reference:

1.Accident Prevention Manual for Industrial Operations 	- NSC Chicago.

2.Electrical Safety  						- Swan.H.W

3.Electrical earthling and Accident Prevention 		- M.G.Say

4.Power Engineers Hand book  of TNEB

5.Indian Electricity Act & Rules.

6. Electrial safety , fire engineering and safety management	- S Rao & H.L. Saluja Khanna Publishers

602 SAFE WORKING CONDITION & THEIR DEVELOPMENT

MODULE I

Machinery safeguard - principle of machine guarding - breakdown of machine guarding - types of guarding .  Personal protective equipment’s and devices - Description - specification.

MODULE 2

Care and maintenance of common elements used in materials handling equipment’s like Ropes, Chains, Slings, Hooks, Clamps.  General safety consideration in material handling - Manual and Mechanical.  Handling assessments - handling techniques, lifting, carrying, pulling and pushing, palletising and stocking.

MODULE 3

House keeping: Definition - Responsibility of management. Supervisor and employees and their participation.  Need for proper planning and maintaining the gangways. Colour code-system.  Accident causes due to poor housekeeping.  Advantages of good house keeping.  5 s of house keeping.

MODULE 4

Ventilation - purpose of ventilation-general principles ventilation requirements.  Physiological and comfort level .Natural ventilation - Dilution ventilation - Mechanical  ventilation - Local exhaust ventilation - Ventilation measuring instruments.  Fundamentals of hood and duct designs.  Standards on ventilation.

MODULE 5

Purpose of lighting.  Advantages of good illumination.  Lighting and the work.  Sources and kinds of artificial lighting principles of good illuminations.  Design of lighting installation.  Maintenance.  Lighting and colour. Standards on lighting and illuminations.

REFERENCE

1.Accident prevention manual published by NSC Chicago.

2.Material Handling equipments		- N.Rudenko

3.Industrial safety				- Roland P Black

4.Principles of lighting				- Stevens

5.Basic principles of ventilation and heating 	- Thomas Beferd.

SE 702 APPRAISAL, ANALYSIS & CONTROL PROCESS

MODULE I

Plant safety observations - plant safety inspections - safety sampling, safety survey - Incident Recall Technique (IRT) - Job safety analysis - safety inventory systems - product safety - work permit system - total loss control - damage control - system safety . Safety audit.

MODULE 2

Hazard analysis: General hazard analysis - Detailed hazard analysis - cost effectiveness in hazard elimination - logical analysis - Fault tree analysis -  Event tree analysis.

MODULE 3

Risk control - Disaster control - Disaster plan design - Emergency planning - onsite and off site disaster management plan.  Risk communication  to public - Regular review of risks - preparation for disasters - APELL.

MODULE 4

Systems safety analysis - Commonality in systems analysis - systems safety positions  emerge - Methodical analysis.  Systems safety  analysis techniques.  THERP, FEMA Risk Tolerability.

MODULE 5

Simulations and Modelling - Preliminary hazard analysis (PHA) - Hazard and operability study (HAZOP).  HAZAN, Case study.

REFERENCE

1.Accident prevention manual for Industrial operations 	- NSC Chicago

2.High risk safety technology 					- A.E.Green

3.Loss prevention in the process industries			- F.P.Lees

4.System analysis and Design for safety 			- D.B. Brown

5.Hazardous Materials Emergency Planning Guide 		- NSC India

6.Technical Guidance for Hazard Analysis			- NSC India

7.Hazards Materials Emergencies Response and Control	- Cashman, John R.