SE 706( C) SAFETY IN POWER PLANTS

MODULE I

Introduction, Generation of electricity and sources of energy, Major sources of energy.  Coal , Water power, Nuclear energy , Wind, solar energy.   Tidal energy, Geothermal energy, Future trends in power industry.  Principal types of power plants.

MODULE 2

Fuels and fuel handling, solid, liquid, gaseous fuels, storage of fuels, Hazards in the storage of fuels.  Safety precautions in storage and handling.  Safety in transportation  of fuels. Treeter scrapers, skip - hoists, Bucket elevators Flight conveyors.  Spiral conveyors.  Drag scrapers and grab buckets.  Combustion and combustion equipment - safety in furnace operations - Effect of service conditions on refectories.

MODULE 3

Steam generator, types  and safety measures- water treatment - Dust collectors -   Selection of site for steam plant. Layout.  The diesel engine plant: use of diesel engine in a steam plant.  Advantages and disadvantages of diesel plants.  Safety and environmental problems of diesel plant.

MODULE 4

Safety during selection of power plant equipment -safety in commissioning of thermal power plant equipments,  hydrostatic and air leakage test acid and alkali cleaning, safety in auxiliary plants - hydrogen plants cooling water system safety in maintenance of power plants.

MODULE 5

Development of nuclear power plants.  Radiation protection.  Instrument for Radiation detection and measurement.  Early recognition of radiation in hazard - personnel monitoring devices, Medical support.  Transporting radio active materials - storage of radioactive materials.

REFERENCE

1.Radiation Protection 			: Shapiro T

2.Power plant Engineering			: Dr.Mahesh Varma

3.Safety Management 			: John V Grimaldi and Rollin H Simonds.